# Software User Manual

# Welcome

Welcome to use Meter data manager software.

The software will effectively upload the testing data from Meter to PC .

1. By using this software, users may save all the testing data as .csv form.

2. By using this software, users may generate the test report, review it and print it.

# System Requirement

System Requirements:

Windows XP/7

Minimum Configuration:

CPU: Pentium 600MHz

RAM:256MB

Graphics Card: Standard VGA256 colour

Hard Disc: Typical Installation 300MB spare capacity

Hard Driver: 8 times speed CD-ROM

Recommended Configuration:

CPU: Pentium 1000MHZ or better

RAM: 512MB or better

Graphics Card: SVGA16 colour or better

# Software Installation

1.Please find the file "setup.exe", and double click it to activate the installation guide, then it displays as following on the screen:

2. Click "Next" to confirm the installation.

The default installation path is "C:\Program Files\Microsoft\FHP2A04 V10.0 Meter Data Manager\".  If you wish to change the default installation path, you can click "Browse" button to change the path.

3. Click "Next" to continue installing the Meter data manager software.

4. Installing Meter Data Manager and choose "Close" after the installation finished

# Software Start

After installed " Meter Data Manager Software", users can use it by:

1. Click "Start" menu -- "Programs" , and select program group of the software. Click the "FHP2A04 V10.0 Meter Data Manager" to start the program.

2. After the installation, there will be an icon of "FHP2A04 V10.0 Meter Data Manager" on the desk.

Click this icon to start the program.

# Software Operation

After installation, user can operate the saved data in the instrument.

The main dialogue of the program is as follow:

1. Click "Upload" to upload the test results to PC.

2. Click "Save" to save the uploaded test results as csv file.

3. Click "Clear" to clear the data in the Meter.And please clear data after data reading.

4. Click "Print" to print the data.If there’s no data in “Data area”,it will show “No data print!”.

5. Click "Preview" to preview the data.If there’s no data in “Data area”,it will show “No data preview!”

6. Click “Exit” to exit the software.

# Software Uninstallation

Meter Data Manager Software provides auto uninstallation function. You can remove all the components, program groups and shortcuts of the Meter Data Manager Software.

- Click the windows "Start" menu -- "Programs" and open the program files “FHP2A04 V10.0 Meter Data Manager”.

Select "Uninstall.exe". Then click "Yes" button to confirm the uninstallation in the dialogue.

2. Another method to remove the program is to click "Add or Remove Programs" in the

"Control Panel". Click "Remove" to uninstall the software.

Attention: 	1.Please uninstall the software before you want to re-install the software.

2.If it does’t run well,please disable other COM ports in device managerment which you don’t need.

Thanks!